LUCENT SIGNAGE

SAMPLE SPEC SHEET

SECTION 10426

SIGNAGE AND GRAPHICS

.

** NOTE TO SPECIFIER **  Best Sign Systems, Inc.; interior signs.

.

This section is based on the products of Best Sign Systems, Inc., which is located at:

1202 N. Park Avenue

P. O. Box 577

Montrose, CO 81402-0577

Tel: (800) 235-BEST

Fax: (970) 249-0223

Email:  sales@bestsigns.com

www.bestsigns.com

Best Sign Systems, Inc. is a leading manufacturer of architectural sign systems. Utilizing its exclusive Graphic Blast® process, Best manufactures architectural and ADA compliant interior and exterior signage, directories, awards and plaques, and donor recognition products meeting nearly any requirement on materials such as plastics, woods, Corian®, tile, marble, Avonite®, glass, mirror, and fiberglass.

.

SECTION 10426 - SIGNAGE AND GRAPHICS, Copyright 2003, ARCAT, Inc.

GENERAL

SECTION INCLUDES

** NOTE TO SPECIFIER **  If sufficient project information is available, include a list of signs in the schedule at the end of this specification.

Interior signage of the following types:

Lucent, custom construction.

RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

Section 10410 - Directories.

Section 10420 - Plaques.

Section 10430 - Exterior Signage.

REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

ICC/ANSI A117.1 - Accessible and Useable Buildings and Facilities.

USATBCB - Americans with Disabilities Act (ADA), Accessibility Guidelines for Buildings and Facilities (ADAAG).

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's descriptive literature.

Shop Drawings: List sign styles, lettering, locations and dimensions of each interior sign.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

Selection Samples:  One complete set of color chips representing manufacturer's full range of available colors.

Verification Samples:  Two full size samples, representing type, style and color specified including method of attachment.

QUALITY ASSURANCE

Regulatory Requirements:  Comply with requirements of ICC/ANSI A117.1 and ADAAG.

DELIVERY, STORAGE, AND HANDLING

Inspect products upon receipt. Store products in manufacturer's packaging until ready for installation.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer:  Best Sign Systems, Inc.; 1202 N. Park Avenue,

Montrose, CO 81401.  ASD. TEL: (800) 235-BEST.  FAX (970) 249-0223.

Email: sales@bestsigns.com  www.bestsigns.com.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

SIGNS

ADA-Compliant Interior Signage, Custom Design:

** NOTE TO SPECIFIER **  Delete paragraph below if a sign schedule is not attached.  Schedule shall include complete list of required signs including text and symbols, if any.  Indicate sizes and quantities of each.

INTERIOR SIGNAGE SCHEDULE

Manufacturer’s standard monolithic tactile plaque constructed utilizing a thermoforming process, which provides a fully homogeneous plaque sign.  The sign body, face, raised text and Braille are compression molded to form a single dimensional component that results in a sign surface that exhibits a toughness that resists scratching, cracking, gouging and graffiti.

- Style: Custom Lucent Sign by Best Sign Systems, Inc

- Material: Extruded Clear Acrylic

- Material: Extruded Green Glass Acrylic

- Sign Thickness: 1/8 inch (3mm) Not available for window signs or beveled edges

- Sign Thickness: 1/4 inch (6mm)

- Sign Thickness: 3/8 inch (10mm)

- Tactile Characters/Symbols: Raised 1/32 inch (1 mm) from sign plate face

- Construction: One-piece; added on or engraved characters not acceptable

- Lettering Style: Typeface as selected from the manufacturer’s standard sans serf or simple serf typefaces, upper case letters, minimum height 5/8”, maximum height 2”

- Braille: Grade 2 braille, placed directly below last line of letters or numbers

- Contrast: Letters, numbers and symbols shall contrast with background.

- Bevel Options: Classic

- Bevel Options: Bull Nose

- Bevel Options: 45 Degree

- Profiles: Standard Rectangular

- Profiles: Standard Beveled Corner

- Profiles: Standard Radiused Corner

- Profiles: Standard Tombstone

- Profiles: Standard Ellipse/Round

- Profiles: Custom

- Color of Background: Colors chosen from 73 Standard Paint colors, subsurface or surface applied

- Color of Background: Metallic chosen from standard paint colors, subsurface or surface applied

- Color of Background: Custom Color, subsurface or surface applied

- Color of Text and Raised Characters: As selected from 73 standard colors

- Color of Text and Raised Characters: Metallic – Silver and Gold

- Surface Texture: Matte

- Surface Texture: Stipple

- Surface Texture: Slate

EXECUTION

EXAMINATION

Examine installation areas to ensure that conditions are suitable for installation.

Examine signage for defects prior to installation.  Do not install damaged signage.

PREPARATION

Verify mounting heights and locations for interior signage will comply with referenced standards.

Clean mounting locations of dirt, dust, grease or similar conditions that would prevent proper installation.

INSTALLATION

Install signs level, plumb, without distortion, and in proper relationship with adjacent surfaces using manufacturer's recommended standard mounting system.

** NOTE TO SPECIFIER **  Delete mounting types not required from list below.

Mount with vinyl foam tape.

Mount with screws.

Mount with silicone and vinyl foam tape.

Remove adhesive from exposed sign surfaces as recommended by manufacturer.

Clean signs after installation as recommended by manufacturer.

Replace damaged products before Substantial Completion.

** NOTE TO SPECIFIER **  Delete paragraph below if a sign schedule is not attached.  Schedule shall include complete list of required signs including text and symbols, if any.  Indicate sizes and quantities of each.

INTERIOR SIGNAGE SCHEDULE

Refer to the list of interior signs required for the project as attached to this Section.

END OF SECTION

END OF SECTION